## Sheet1
Author: | Jared Langevin
Institution: | Drexel University
Department: | Civil, Architectural, Environmental Engineering
Location of Study: | Philadelphia, PA (Center City)
Building Description | Medium size office (~58,000 square feet); VAV system; operable windows, adjustable thermostats near most desks; LEED Platinum
Time Frame of Study: | July 2012 - July -2013
Type of Study: | Longitudinal with Cross-Sectional Background Survey Initially
Reference: | Langevin, J., Wen, J., & Gurian, P.L. (2015). Tracking the human-building intereaction: A longitudinal field study of occupant behavior in air-conditioned offices. Journal of Environmental Psychology, 42, 94-115.
TEXT FILE COLUMN | CATEGORY | NAME | DATA COLLECTION SOURCE | TYPE | DESCRIPTION | UNITS (if applicable) | CATEGORIES (if applicable)
1 | GENERAL | Time | -- | Discrete | Absolute time (MATLAB) | -- | --
2 | GENERAL | Occupant Number | -- | Discrete | Number of occupant in field study | -- | --
3 | GENERAL | Occupancy 1 | Daily/2 Week Surveys | Discrete | Expected occupancy state for whole study | -- | 1 = Occupied ; 0 = Not Occupied
4 | GENERAL | Occupancy 2 | Daily/2 Week Surveys | Discrete | Expected occupancy state for daily surveying period only | -- | 1 = Occupied ; 0 = Not Occupied
5 | GENERAL | Survey Time | Daily Surveys | Discrete | Time of day of survey response (if there is one @ time step) | -- | 1 = Morning Survey ; 2 = Late Morning Survey ; 3 = Afternoon Survey
6 | ENVIRONMENT | INDOOR Ambient Temp. | HOBO datalogger | Continuous | Logged either via HOBO U12 @ desk or nearby thermostat | ºC | --
7 | ENVIRONMENT | INDOOR Relative Humidity | HOBO datalogger | Continuous | Logged via HOBO U12 @ desk | % | --
8 | ENVIRONMENT | INDOOR Air Velocity | HOBO datalogger | Continuous | Logged via HOBO U12 + T-DCI-F900-S-O air velocity sensor | m/s | --
9 | ENVIRONMENT | INDOOR Mean Radiant Temp. | HOBO datalogger | Continuous | Logged via HOBO U12 + thermocouple in 40 mm black matte ping pong ball | ºC | --
10 | ENVIRONMENT | INDOOR Lumens | HOBO datalogger | Continuous | Logged via HOBO U12 | lumens/m2 *REGENERATE | --
11 | ENVIRONMENT | INDOOR CO2 | HOBO datalogger | Continuous | Logged via HOBO Telair 7001 sensor | ppm | --
12 | ENVIRONMENT | OUTDOOR Ambient Temp. | Weather Analytics | Continuous | Downloaded from Weather Analytics, Center City PHL grid point | ºC | --
13 | ENVIRONMENT | OUTDOOR Relative Humidity | Weather Analytics | Continuous | Downloaded from Weather Analytics, Center City PHL grid point | % | --
14 | ENVIRONMENT | OUTDOOR Air Velocity | Weather Analytics | Continuous | Downloaded from Weather Analytics, Center City PHL grid point | m/s | --
15 | PERSONAL CHARACTERISTICS | Metabolic Rate (last 15 mins.) | Daily Surveys | Continuous | Weighted average of reported activities, based on ASH Std-55 | MET | --
16 | PERSONAL CHARACTERISTICS | Metabolic Rate (last 1 hour) | Daily Surveys | Continuous | Weighted average of reported activities, based on ASH Std-55 | MET | --
17 | PERSONAL CHARACTERISTICS | Clothing Level | Daily Surveys | Continuous | Based on ASH Std-55 Clo values + ISO 7730 clo values where needed | CLO | --
18 | PERSONAL CHARACTERISTICS | Clothing Level (+ Chair) | Daily Surveys | Continuous | Chair = 0.1 Clo | CLO | --
19 | PERSONAL CHARACTERISTICS | Min. Accept. Sensation (right now) | Daily Surveys | Discrete | Coldest acceptable thermal sensation at that moment on ASH scale | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
20 | PERSONAL CHARACTERISTICS | Med. Accept. Sensation (right now) | Daily Surveys | Discrete | Median of thermally acceptable sensation range on ASH scale | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
21 | PERSONAL CHARACTERISTICS | Max. Accept. Sensation (right now) | Daily Surveys | Discrete | Warmest acceptable thermal sensation at that moment on ASH scale | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
22 | PERSONAL CHARACTERISTICS | Min. Accept (seasonal median) | Daily Surveys | Discrete | Median of min. acceptable sensations reported across each season | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
23 | PERSONAL CHARACTERISTICS | Med. Accept (seasonal median) | Daily Surveys | Discrete | Median of the median acceptable sensations reported across each season | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
24 | PERSONAL CHARACTERISTICS | Max. Accept (seasonal median) | Daily Surveys | Discrete | Median of max. acceptable sensations reported across each season | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
25 | PERSONAL CHARACTERISTICS | Thermal Preference (right now) | Daily Surveys | Discrete | Desired thermal sensation at that moment | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
26 | PERSONAL CHARACTERISTICS | Gender | Background Survey | Discrete | -- | -- | 1=Male ; 2 = Female
27 | PERSONAL CHARACTERISTICS | Age | Background Survey | Discrete | -- | Years | --
28 | PERSONAL CHARACTERISTICS | Office Type | Background Survey | Discrete | -- | -- | 1=Private Office (Single) ; 2 = Private Office (Shared) ; 3 = Cubicle; 4 = Open Desk ; 5 = Public Area (i.e. lobby)
29 | PERSONAL CHARACTERISTICS | Floor Number | Background Survey | Discrete | -- | -- | 1 = Basement ; 2 = Ground Floor; 3 = 2nd Floor; 4 = 3rd Floor
30 | PERSONAL CHARACTERISTICS | Location on Floor Plan | Background Survey | Discrete | -- | -- | 1 = Core ; 2 = Perimeter
31 | PERSONAL CHARACTERISTICS | Min. Accept. Sensation (summer) | Background Survey | Discrete | Coldest thermal sensation generally acceptable in SUMMER | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
32 | PERSONAL CHARACTERISTICS | Min. Accept. Sensation (winter) | Background Survey | Discrete | Coldest thermal sensation generally acceptable in WINTER | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
33 | PERSONAL CHARACTERISTICS | Med. Accept. Sensation (summer) | Background Survey | Discrete | Median of thermal acceptability range reported for SUMMER | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
34 | PERSONAL CHARACTERISTICS | Med. Accept. Sensation (winter) | Background Survey | Discrete | Median of thermal acceptability range reported for WINTER | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
35 | PERSONAL CHARACTERISTICS | Max. Accept. Sensation (summer) | Background Survey | Discrete | Warmest thermal sensation generally acceptable in SUMMER | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
36 | PERSONAL CHARACTERISTICS | Max. Accept. Sensation (winter) | Background Survey | Discrete | Warmest thermal sensation generally acceptable in WINTER | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
37 | COMFORT/PRODUCTIVITY/SATISFACTION | General Thermal Comfort (right now) | Daily Surveys | Discrete | -- | -- | 1 = Very UNCOMF. ; 2 = UNCOMF. ; 3 = Somewhat UNCOMF. 4 = Somewhat COMF. ; 5 = COMF. ; 6 = Very COMF.
38 | COMFORT/PRODUCTIVITY/SATISFACTION | Thermal Comfort Movement (recently) | Daily Surveys | Discrete | -- | -- | -1 = Deteriorating ; 0 = Staying the Same; 1 = Improving 2 = Fluctuating *** FIXED, NEED TO REGENERATE FILE
39 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: HEAD | Daily Surveys | Discrete | -- | -- | Marked as "1"
40 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: CHEST | Daily Surveys | Discrete | -- | -- | Marked as "2"
41 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: BACK | Daily Surveys | Discrete | -- | -- | Marked as "3"
42 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: PELVIS | Daily Surveys | Discrete | -- | -- | Marked as "4"
43 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: ARMS | Daily Surveys | Discrete | -- | -- | Marked as "5"
44 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: HANDS | Daily Surveys | Discrete | -- | -- | Marked as "6"
45 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: LEGS | Daily Surveys | Discrete | -- | -- | Marked as "7"
46 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: FEET | Daily Surveys | Discrete | -- | -- | Marked as "8"
47 | COMFORT/PRODUCTIVITY/SATISFACTION | Discomfort Location: ALL OVER | Daily Surveys | Discrete | -- | -- | Marked as "9"
48 | COMFORT/PRODUCTIVITY/SATISFACTION | Thermal Sensation (right now) | Daily Surveys | Discrete | On ASHRAE scale | -- | ASHRAE 7 point scale (-3 = "Cold" to +3 = "Warm", where 0 = "Neutral")
49 | COMFORT/PRODUCTIVITY/SATISFACTION | Thermal Sensation Movement (recently) | Daily Surveys | Discrete | -- | -- | -1 = Getting Colder ; 0 = Staying the Same ; 1 = Getting Warmer ; 2 = Fluctuating
50 | COMFORT/PRODUCTIVITY/SATISFACTION | Relative "Busyness" (recently) | Daily Surveys | Discrete | Recent workload relative to what is normal | -- | 1 = Much LESS busy than usual ; 2 = A little LESS busy than usual ; 3 = As busy as usual ; 4 = A little MORE busy than usual ; 5 = Much MORE busy than usual
51 | COMFORT/PRODUCTIVITY/SATISFACTION | Relative Productivity (recently) | Daily Surveys | Discrete | Recent productivity relative to what is normal | -- | 1 = Much LESS productive than usual ; 2 = A little LESS productive than usual ; 3 = As productive as usual ; 4 = A little MORE productive than usual ; 5 = Much MORE productive than usual
52 | COMFORT/PRODUCTIVITY/SATISFACTION | General Satisfaction w/ Amount of Space | Background Survey | Discrete | -- | -- | 1 = Very DISSATISFIED ; 2 = DISSATISFIED ; 3 = Somewhat DISSATISFIED ; 4 = Somewhat SATISFIED ; 5 = SATISFIED ; 6 = Very SATISFIED
53 | COMFORT/PRODUCTIVITY/SATISFACTION | General Satisfaction w/ Privacy | Background Survey | Discrete | -- | -- | 1 = Very DISSATISFIED ; 2 = DISSATISFIED ; 3 = Somewhat DISSATISFIED ; 4 = Somewhat SATISFIED ; 5 = SATISFIED ; 6 = Very SATISFIED
54 | COMFORT/PRODUCTIVITY/SATISFACTION | General Thermal Comfort | Background Survey | Discrete | -- | -- | 1 = Very UNCOMFORTABLE ; 2 = UNCOMFORTABLE ; 3 = Somewhat UNCOMFORTABLE ; 4 = Somewhat COMFORTABLE ; 5 = COMFORTABLE ; 6 = Very COMFORTABLE
55 | COMFORT/PRODUCTIVITY/SATISFACTION | General Satisfaction w/ Perceived Control | Background Survey | Discrete | Satisfaction with perceived degree of control over the thermal environment | -- | 1 = Very DISSATISFIED ; 2 = DISSATISFIED ; 3 = Somewhat DISSATISFIED ; 4 = Somewhat SATISFIED ; 5 = SATISFIED ; 6 = Very SATISFIED
56 | BEHAVIOR | Fan/Heater Class | -- | Discrete | Does the occupant have a fan or heater? | -- | 1 = Has Fan ; 2 = Has Heater (else, NaN)
57 | BEHAVIOR | State of Fan/Heater | WattsUp? Pro meter | Discrete | Logged by WattsUp? Pro meter | -- | 1 = ON; 0 = OFF; 255 = Faulty Reading
58 | BEHAVIOR | State of Window | HOBO state logger | Discrete | Logged by HOBO UX-90 state loggers | -- | 1 = OPEN; 0 = CLOSED (else NaN)
59 | BEHAVIOR | Current Thermostat COOLING Setpoint | Friends Center BMS | Continuous | Logged by Friends Center BMS system | ºC | -
60 | BEHAVIOR | Base Thermostat COOLING Setpoint | Friends Center BMS | Continuous | Logged by Friends Center BMS system; NOTE: adjustable by building manager | ºC | -
61 | BEHAVIOR | Current Thermostat HEATING Setpoint | Friends Center BMS | Continuous | Logged by Friends Center BMS system | ºC | -
62 | BEHAVIOR | Base Thermostat HEATING Setpoint | Friends Center BMS | Continuous | Logged by Friends Center BMS system; NOTE: adjustable by building manager | ºC | -
63 | BEHAVIOR | Clothing Change (recently) | Daily Surveys | Discrete | Based on ASH Std. 55 clothing insulation values | -- | 0 = None; 1 = Change (1 direction) ; 2 = Change (Up and down) ; 3 = No change, cannot adjust further ; 99 = N/A
64 | BEHAVIOR | Clothing Change UP (recently) | Daily Surveys | Discrete | -- | -- | 0 = No; 1 = Yes ; 99 = N/A
65 | BEHAVIOR | Clothing Change DOWN (recently) | Daily Surveys | Discrete | -- | -- | 0 = No; 1 = Yes ; 99 = N/A
66 | BEHAVIOR | Net Clothing Change (recently) | Daily Surveys | Continuous | Based on ASH Std. 55 clothing insulation values | CLO | Based on minor change = +/- 0.08 ; small change = +/- 0.18 ; moderate change = +/- 0.25 ; large change = +/- 0.32; largest change = +/- 0.44
67 | BEHAVIOR | Drinking Beverage? | Daily Surveys | Discrete | -- | -- | 0 = No; 1 = Yes, @ Room Temp. ; 2 = Yes, COLD; 3 = Yes, WARM ; 4 = Yes, Both WARM and COLD
68 | BEHAVIOR | Purpose of getting COLD drink | Daily Surveys | Discrete | -- | -- | 1 = Related to Thermal Comfort ; 0 = Not Related to Thermal Comfort
69 | BEHAVIOR | Purpose of getting WARM drink | Daily Surveys | Discrete | -- | -- | 1 = Related to Thermal Comfort ; 0 = Not Related to Thermal Comfort
70 | BEHAVIOR | Action on WINDOW (recently) | Daily Surveys | Discrete | -- | -- | 1= OPENED without asking others ; 2 = OPENED after asking others ; 3 = CLOSED without asking others ; 4 = CLOSED after asking others
71 | BEHAVIOR | WINDOW state (right now) | Daily Surveys | Discrete | -- | -- | 1= Fully OPEN ; 2 = Partially OPEN ; 3 = CLOSED
72 | BEHAVIOR | How long ago was WINDOW action? | Daily Surveys | Discrete | -- | -- | 1 = <15 minutes ago ; 2 = 15-30 minutes ago ; 3 = > 30 minutes ago
73 | BEHAVIOR | Action on DOOR (recently) | Daily Surveys | Discrete | -- | -- | 1= OPENED without asking others ; 2 = OPENED after asking others ; 3 = CLOSED without asking others ; 4 = CLOSED after asking others
74 | BEHAVIOR | DOOR state (right now) | Daily Surveys | Discrete | -- | -- | 1= Fully OPEN ; 2 = Partially OPEN ; 3 = CLOSED
75 | BEHAVIOR | How long ago was DOOR action? | Daily Surveys | Discrete | -- | -- | 1 = <15 minutes ago ; 2 = 15-30 minutes ago ; 3 = > 30 minutes ago
76 | BEHAVIOR | Action on BLINDS (recently) | Daily Surveys | Discrete | -- | -- | 1= OPENED without asking others ; 2 = OPENED after asking others ; 3 = CLOSED without asking others ; 4 = CLOSED after asking others
77 | BEHAVIOR | BLINDS state (right now) | Daily Surveys | Discrete | -- | -- | 1= Fully OPEN ; 2 = Partially OPEN ; 3 = CLOSED
78 | BEHAVIOR | How long ago was BLINDS action? | Daily Surveys | Discrete | -- | -- | 1 = <15 minutes ago ; 2 = 15-30 minutes ago ; 3 = > 30 minutes ago
79 | BEHAVIOR | Action on LOCAL FAN (recently) | Daily Surveys | Discrete | -- | -- | 1= TURNED ON without asking others ; 2 = TURNED ON after asking others ; 3 = TURNED OFF without asking others ; 4 = TURNED OFF after asking others
80 | BEHAVIOR | LOCAL FAN state (right now) | Daily Surveys | Discrete | -- | -- | 1= On HIGH ; 2 = On LOW/MEDIUM ; 3 = OFF
81 | BEHAVIOR | How long ago was LOCAL FAN action? | Daily Surveys | Discrete | -- | -- | 1 = <15 minutes ago ; 2 = 15-30 minutes ago ; 3 = > 30 minutes ago
82 | BEHAVIOR | Action on LOCAL HEATER (recently) | Daily Surveys | Discrete | -- | -- | 1= TURNED ON without asking others ; 2 = TURNED ON after asking others ; 3 = TURNED OFF without asking others ; 4 = TURNED OFF after asking others
83 | BEHAVIOR | LOCAL HEATER state (right now) | Daily Surveys | Discrete | -- | -- | 1= On HIGH ; 2 = On LOW/MEDIUM ; 3 = OFF
84 | BEHAVIOR | How long ago was LOCAL HEATER action? | Daily Surveys | Discrete | -- | -- | 1 = <15 minutes ago ; 2 = 15-30 minutes ago ; 3 = > 30 minutes ago
85 | BEHAVIOR | Action on THERMOSTAT (recently) | Daily Surveys | Discrete | -- | -- | 1= TURNED UP without asking others ; 2 = TURNED UP after asking others ; 3 = TURNED DOWN without asking others ; 4 = TURNED DOWN after asking others
86 | BEHAVIOR | THERMOSTAT state (right now) | Daily Surveys | Discrete | -- | -- | 1= Turned UP ; 2 = At base temp. ; 3 = Turned DOWN
87 | BEHAVIOR | How long ago was THERMOSTAT action? | Daily Surveys | Discrete | -- | -- | 1 = <15 minutes ago ; 2 = 15-30 minutes ago ; 3 = > 30 minutes ago
88 | BEHAVIOR | Reason for no WINDOW action | Daily Surveys | Discrete | -- | -- | 1 = No Need: Comfortable Enough ; 2 = Cannot Adjust Further ; 3 = Would Not Have Helped; 4 = Not Worth Work Disruption ; 5 = Not Worth Asking Others ; 6 = Not OK with Management ; 7 = Not Agreeable to Others ; 8 = Wanted to Use Other Options First ; 9 = Other Person Already Made Adjustment ; 10 = Multiple Reasons
89 | BEHAVIOR | Reason for no DOOR action | Daily Surveys | Discrete | -- | -- | 1 = No Need: Comfortable Enough ; 2 = Cannot Adjust Further ; 3 = Would Not Have Helped; 4 = Not Worth Work Disruption ; 5 = Not Worth Asking Others ; 6 = Not OK with Management ; 7 = Not Agreeable to Others ; 8 = Wanted to Use Other Options First ; 9 = Other Person Already Made Adjustment ; 10 = Multiple Reasons
90 | BEHAVIOR | Reason for no BLINDS action | Daily Surveys | Discrete | -- | -- | 1 = No Need: Comfortable Enough ; 2 = Cannot Adjust Further ; 3 = Would Not Have Helped; 4 = Not Worth Work Disruption ; 5 = Not Worth Asking Others ; 6 = Not OK with Management ; 7 = Not Agreeable to Others ; 8 = Wanted to Use Other Options First ; 9 = Other Person Already Made Adjustment ; 10 = Multiple Reasons
91 | BEHAVIOR | Reason for no LOCAL FAN action | Daily Surveys | Discrete | -- | -- | 1 = No Need: Comfortable Enough ; 2 = Cannot Adjust Further ; 3 = Would Not Have Helped; 4 = Not Worth Work Disruption ; 5 = Not Worth Asking Others ; 6 = Not OK with Management ; 7 = Not Agreeable to Others ; 8 = Wanted to Use Other Options First ; 9 = Other Person Already Made Adjustment ; 10 = Multiple Reasons
92 | BEHAVIOR | Reason for no LOCAL HEATER action | Daily Surveys | Discrete | -- | -- | 1 = No Need: Comfortable Enough ; 2 = Cannot Adjust Further ; 3 = Would Not Have Helped; 4 = Not Worth Work Disruption ; 5 = Not Worth Asking Others ; 6 = Not OK with Management ; 7 = Not Agreeable to Others ; 8 = Wanted to Use Other Options First ; 9 = Other Person Already Made Adjustment ; 10 = Multiple Reasons
93 | BEHAVIOR | Reason for no THERMOSTAT action | Daily Surveys | Discrete | -- | -- | 1 = No Need: Comfortable Enough ; 2 = Cannot Adjust Further ; 3 = Would Not Have Helped; 4 = Not Worth Work Disruption ; 5 = Not Worth Asking Others ; 6 = Not OK with Management ; 7 = Not Agreeable to Others ; 8 = Wanted to Use Other Options First ; 9 = Other Person Already Made Adjustment ; 10 = Multiple Reasons
94 | BEHAVIOR | CLOTHING availability | Background Survey | Discrete | -- | -- | 0 = Don't Know ; 1 = Not Allowed / Possible ; 2 = I Can Do This, But Choose Not To; 3 = I Do This But Generally Need to Consult Others First ; 4 = I Do This Without Consulting Others
95 | BEHAVIOR | DRINKS availability | Background Survey | Discrete | -- | -- | 0 = Don't Know ; 1 = Not Allowed / Possible ; 2 = I Can Do This, But Choose Not To; 3 = I Do This But Generally Need to Consult Others First ; 4 = I Do This Without Consulting Others
96 | BEHAVIOR | LOCAL HEATER availability | Background Survey | Discrete | -- | -- | 0 = Don't Know ; 1 = Not Allowed / Possible ; 2 = I Can Do This, But Choose Not To; 3 = I Do This But Generally Need to Consult Others First ; 4 = I Do This Without Consulting Others
97 | BEHAVIOR | LOCAL FAN availability | Background Survey | Discrete | -- | -- | 0 = Don't Know ; 1 = Not Allowed / Possible ; 2 = I Can Do This, But Choose Not To; 3 = I Do This But Generally Need to Consult Others First ; 4 = I Do This Without Consulting Others
98 | BEHAVIOR | THERMOSTAT availability | Background Survey | Discrete | -- | -- | 0 = Don't Know ; 1 = Not Allowed / Possible ; 2 = I Can Do This, But Choose Not To; 3 = I Do This But Generally Need to Consult Others First ; 4 = I Do This Without Consulting Others
99 | BEHAVIOR | WINDOW availability | Background Survey | Discrete | -- | -- | 0 = Don't Know ; 1 = Not Allowed / Possible ; 2 = I Can Do This, But Choose Not To; 3 = I Do This But Generally Need to Consult Others First ; 4 = I Do This Without Consulting Others
100 | BEHAVIOR | DOOR availability | Background Survey | Discrete | -- | -- | 0 = Don't Know ; 1 = Not Allowed / Possible ; 2 = I Can Do This, But Choose Not To; 3 = I Do This But Generally Need to Consult Others First ; 4 = I Do This Without Consulting Others
101 | BEHAVIOR | BLINDS availability | Background Survey | Discrete | -- | -- | 0 = Don't Know ; 1 = Not Allowed / Possible ; 2 = I Can Do This, But Choose Not To; 3 = I Do This But Generally Need to Consult Others First ; 4 = I Do This Without Consulting Others
102 | BEHAVIOR | CLOTHING effectiveness | Background Survey | Discrete | -- | -- | 0 = N/A or Don't Know; Very INEFFECTIVE ; 2 = INEFFECTIVE ; 3 = Somewhat INEFFECTIVE ; 4 = Somewhat EFFECTIVE ; 5 = EFFECTIVE ; 6 = Very EFFECTIVE
103 | BEHAVIOR | DRINKS effectiveness | Background Survey | Discrete | -- | -- | 0 = N/A or Don't Know; Very INEFFECTIVE ; 2 = INEFFECTIVE ; 3 = Somewhat INEFFECTIVE ; 4 = Somewhat EFFECTIVE ; 5 = EFFECTIVE ; 6 = Very EFFECTIVE
104 | BEHAVIOR | LOCAL HEATER effectiveness | Background Survey | Discrete | -- | -- | 0 = N/A or Don't Know; Very INEFFECTIVE ; 2 = INEFFECTIVE ; 3 = Somewhat INEFFECTIVE ; 4 = Somewhat EFFECTIVE ; 5 = EFFECTIVE ; 6 = Very EFFECTIVE
105 | BEHAVIOR | LOCAL FAN effectiveness | Background Survey | Discrete | -- | -- | 0 = N/A or Don't Know; Very INEFFECTIVE ; 2 = INEFFECTIVE ; 3 = Somewhat INEFFECTIVE ; 4 = Somewhat EFFECTIVE ; 5 = EFFECTIVE ; 6 = Very EFFECTIVE
106 | BEHAVIOR | THERMOSTAT effectiveness | Background Survey | Discrete | -- | -- | 0 = N/A or Don't Know; Very INEFFECTIVE ; 2 = INEFFECTIVE ; 3 = Somewhat INEFFECTIVE ; 4 = Somewhat EFFECTIVE ; 5 = EFFECTIVE ; 6 = Very EFFECTIVE
107 | BEHAVIOR | WINDOW effectiveness | Background Survey | Discrete | -- | -- | 0 = N/A or Don't Know; Very INEFFECTIVE ; 2 = INEFFECTIVE ; 3 = Somewhat INEFFECTIVE ; 4 = Somewhat EFFECTIVE ; 5 = EFFECTIVE ; 6 = Very EFFECTIVE
108 | BEHAVIOR | DOOR effectiveness | Background Survey | Discrete | -- | -- | 0 = N/A or Don't Know; Very INEFFECTIVE ; 2 = INEFFECTIVE ; 3 = Somewhat INEFFECTIVE ; 4 = Somewhat EFFECTIVE ; 5 = EFFECTIVE ; 6 = Very EFFECTIVE
109 | BEHAVIOR | BLINDS effectiveness | Background Survey | Discrete | -- | -- | 0 = N/A or Don't Know; Very INEFFECTIVE ; 2 = INEFFECTIVE ; 3 = Somewhat INEFFECTIVE ; 4 = Somewhat EFFECTIVE ; 5 = EFFECTIVE ; 6 = Very EFFECTIVE
110 | BEHAVIOR | Reported Discomfort to Management | Daily Surveys | Discrete | -- | -- | 0 = No; 1 = Yes ; 2 = No, but my coworker did
111 | PERSONAL VALUES | Chooses set point that maximizes PRODUCTIVITY | Background Survey | Discrete | To what degree are you similar to hypothetical person adjusting thermostat in office? | -- | 0 = Don't Know ; 1 = Not Like Me At All ; 2 = Not Like Me ; 3 = A Little Like Me ; 4 = Somewhat Like Me ; 5 = Like Me ; 6 = Very Much Like Me
112 | PERSONAL VALUES | Chooses set point that maximized COMFORT/PLEASURE | Background Survey | Discrete | To what degree are you similar to hypothetical person adjusting thermostat in office? | -- | 0 = Don't Know ; 1 = Not Like Me At All ; 2 = Not Like Me ; 3 = A Little Like Me ; 4 = Somewhat Like Me ; 5 = Like Me ; 6 = Very Much Like Me
113 | PERSONAL VALUES | Wishes set point to stay at setting they choose | Background Survey | Discrete | To what degree are you similar to hypothetical person adjusting thermostat in office? | -- | 0 = Don't Know ; 1 = Not Like Me At All ; 2 = Not Like Me ; 3 = A Little Like Me ; 4 = Somewhat Like Me ; 5 = Like Me ; 6 = Very Much Like Me
114 | PERSONAL VALUES | Chooses set point that is most agreeable to OTHERS | Background Survey | Discrete | To what degree are you similar to hypothetical person adjusting thermostat in office? | -- | 0 = Don't Know ; 1 = Not Like Me At All ; 2 = Not Like Me ; 3 = A Little Like Me ; 4 = Somewhat Like Me ; 5 = Like Me ; 6 = Very Much Like Me
115 | PERSONAL VALUES | Chooses set point that is most ENERGY EFFICIENT | Background Survey | Discrete | To what degree are you similar to hypothetical person adjusting thermostat in office? | -- | 0 = Don't Know ; 1 = Not Like Me At All ; 2 = Not Like Me ; 3 = A Little Like Me ; 4 = Somewhat Like Me ; 5 = Like Me ; 6 = Very Much Like Me
116 | PERSONAL VALUES | Chooses set point most in line with MGMT policies | Background Survey | Discrete | To what degree are you similar to hypothetical person adjusting thermostat in office? | -- | 0 = Don't Know ; 1 = Not Like Me At All ; 2 = Not Like Me ; 3 = A Little Like Me ; 4 = Somewhat Like Me ; 5 = Like Me ; 6 = Very Much Like Me
117 | PERSONAL VALUES | Choooses set point most TYPICAL of office setting | Background Survey | Discrete | To what degree are you similar to hypothetical person adjusting thermostat in office? | -- | 0 = Don't Know ; 1 = Not Like Me At All ; 2 = Not Like Me ; 3 = A Little Like Me ; 4 = Somewhat Like Me ; 5 = Like Me ; 6 = Very Much Like Me
118 | MODEL | Predicted Mean Vote (PMV) | HOBO + Daily Surveys | Continuous | Fanger (1970) PMV = f(Tamb, Tmeanrad, RH, Avel, Clo, Met) | Limited to [-3,3] | Corresponds to ASHRAE 7 point scale